## resting_state
idx | Name | Notes | Notch | Bad Channels | Quality | Blinks | Breath | ECG | Button notes
0 | ../../data/mne_raw/sub0-day1-jhana-raw.fif', | Lots of shared noise, a bit better towards the end |  | T8, O2 | 5 |  | good | down | -
1 | '../../data/mne_raw/sub0-day1-mindfulness-raw.fif', | good |  |  | 6 | y | good | down
2 | '../../data/mne_raw/sub0-day2-jhana-raw.fif', | FP1 and FPz look suspicious, but I left them in |  | FC1, FC2, FC6 | 6 | y | good | up | -
3 | '../../data/mne_raw/sub0-day2-mindfulness-raw.fif', | exclude? Looks very bad, Fp1 has peak at 44Hz |  | Fz, F4, F8, FC1, FC2, FC6, T7, C3, Poz | 1 |  | good | up
4 | '../../data/mne_raw/sub0-day3-jhana-raw.fif', |  | 44 | C4, CP6 | 5 | y | good | down | -
5 | '../../data/mne_raw/sub0-day3-mindfulness-raw.fif', |  | 44 |  | 5 | y | good | down
6 | '../../data/mne_raw/sub0-day4-jhana-raw.fif', | FPz and C4 have this funky zig-zag motion in last 3rd (but looks like alpha) |  | CP1, P7, O2 | 3 |  | good | down | -
7 | '../../data/mne_raw/sub0-day4-mindfulness-raw.fif', |  |  | C3, CP1, P7, O1, Oz, O2 | 3 |  | good | down
8 | '../../data/mne_raw/sub1-day1-jhana-raw.fif', | Funky peak at 1Hz, maybe exclude? | 79 |  | 2 | y | okay | down | J1>N, last j2-->j1
9 | '../../data/mne_raw/sub1-day1-mindfulness-raw.fif', | F8, T8 look bad but okay, CP2 has zig zag motion, peak at 1Hz | 79 |  | 2 | y | okay | down
10 | '../../data/mne_raw/sub1-day2-jhana-raw.fif', | Lots of noise in the high frequencies >20Hz | 79 | P7, P3, Pz | 2 | y | good | down | J1-->N (???)
11 | '../../data/mne_raw/sub1-day2-mindfulness-raw.fif', | Lots of noise in the high frequencies >20Hz | 79 | F7, F8, FC5, | 2 | y | good | down (but a bit noisy)
12 | '../../data/mne_raw/sub1-day3-jhana-raw.fif', | very noisy, exclude? | 79 | F7, F8, FC5, T7, T8, CP5, CP1, | 1 |  | good | down | J1-->N, J3-->J2
13 | '../../data/mne_raw/sub1-day3-mindfulness-raw.fif', | lots of high frequency noise | 79 | F7, F8, FC5 | 3 | y | good | down
14 | '../../data/mne_raw/sub1-day4-jhana-raw.fif', | lots of high frequency noise | 79 | F7, F3, FC5 | 3 | y | good | down | good
15 | '../../data/mne_raw/sub1-day4-mindfulness-raw.fif', | lots of high frequency noise | 79 | T7, F7, F8, FC5 | 3 | y | good | down
16 | '../../data/mne_raw/sub2-day1-jhana-raw.fif', | noisy |  | AF4, F8, T7, T8, P7, POz, O1, Oz, O2 | 2 |  | good | middle | J1>N
17 | '../../data/mne_raw/sub2-day1-mindfulness-raw.fif', | lots of little bad segments (all of this subject has 1Hz peak..) |  | F8, T8, O1, O2 | 4 |  | good | middle
18 | '../../data/mne_raw/sub2-day2-jhana-raw.fif', | T7, T8 lots of high frequency noise |  |  | 4 | y | good | middle | First J2-->N, J5-->J4
19 | '../../data/mne_raw/sub2-day2-mindfulness-raw.fif', | FP2 and FP1 have lots of high frequency noise, wired oscillations in low power |  |  | 4 |  | good | middle
20 | '../../data/mne_raw/sub2-day3-jhana-raw.fif', | oscillations in low power |  |  | 5 |  | good | middle | J1-->N
21 | '../../data/mne_raw/sub2-day3-mindfulness-raw.fif', | oscillations in low power |  |  | 5 |  | good | middle
22 | '../../data/mne_raw/sub2-day4-jhana-raw.fif', | low frequency oscillation, exclude? |  | FC1, CP1, POz, O1, Oz, O2 | 2 |  | good | middle | J3>J2
23 | '../../data/mne_raw/sub2-day4-mindfulness-raw.fif', | lots of oscillations in low power | 79 | CP1, Oz, O2 | 4 |  | good | middle
24 | '../../data/mne_raw/sub3-day1-jhana-raw.fif', | FP2 has lots of high frequency noise. Oscillation in low power | 79 | T7, O2 | 4 |  | good | down | J1>N
25 | '../../data/mne_raw/sub3-day1-mindfulness-raw.fif', | Bad, maybe exclude? | 79 | F4, T8, O1, O2 | 1 | y | good | down
26 | '../../data/mne_raw/sub3-day2-jhana-raw.fif', | very synchronised in the end | 79 |  | 4 | y | good | down | J1>N
27 | '../../data/mne_raw/sub3-day2-mindfulness-raw.fif', | very synchronised in the end, but PSD looks good | 79 | T8 | 4 | y | good | down
28 | '../../data/mne_raw/sub3-day3-jhana-raw.fif', | very synchronised | 79 | F7, T8, Pz, P4, P8 | 2 |  | good | down | J1>N, J5>J3
29 | '../../data/mne_raw/sub3-day3-mindfulness-raw.fif', | some low power fluctuations for O1 | 79 | F7, Pz, P4, P8 | 3 |  | good | down
30 | '../../data/mne_raw/sub3-day4-jhana-raw.fif', | low frequency oscillation | 79 | O1, Oz, O2 | 4 |  | good | down | good
31 | '../../data/mne_raw/sub3-day4-mindfulness-raw.fif', | low power oscillation | 79 | C4, Pz, POz, O1, Oz, O2 | 4 |  | weak | down
32 | '../../data/mne_raw/sub4-day1-jhana-raw.fif', | lots of noise, too much to clean it all |  | Fz, F4, FC1, C4, CP2, O1, Oz, O2 | 0 |  | good | down | J1>N (?), 2 sequences, maybe fell out in between?
33 | '../../data/mne_raw/sub4-day1-mindfulness-raw.fif', | oscilaltions in low power |  | FC1, C4, T8, P7, POz, O1, Oz, O2 | 2 |  | good | down | delete
34 | '../../data/mne_raw/sub4-day2-jhana-raw.fif', | oscilaltions in low power |  | C3, Oz | 2 |  | bad/weak | down | J3>N (????)
35 | '../../data/mne_raw/sub4-day2-mindfulness-raw.fif', | oscilaltions in low power |  | C3, Pz, O1 | 2 |  | good | down
36 | '../../data/mne_raw/sub4-day3-jhana-raw.fif', | oscilaltions in low power |  | Fz, FC6, O1, Oz, O2 | 4 |  | good | down | J1>N
37 | '../../data/mne_raw/sub4-day3-mindfulness-raw.fif', | oscillations in low power |  | CC6, P7, O1, Oz, O2 | 5 |  | good | down | delete
38 | '../../data/mne_raw/sub4-day4-jhana-raw.fif', | All occipital electrodes are bod, so few electrodes left --> exclude? |  | Cz, C4, T8, CP5, CP1, CP2, CP6, P7, P3, Pz, P4, P8, POz, O1, Oz, O2 | 0 |  | good | down | J1>N
39 | '../../data/mne_raw/sub4-day4-mindfulness-raw.fif', | bad (peripehral electrodes are bad + flat ones in front) |  | Fpz, AF4, T7, Cz, C4, T8, CP5, CP1, CP2, CP6, P7, P3, Pz, P4, P8, POz, O1, Oz, O2 | 0 |  | good | down
40 | '../../data/mne_raw/sub5-day1-jhana-raw.fif', | oscilaltions in low power | 79 | Fp2, F7, F4, F8, FC5, T7, C4, T8, O1, O2 | 2 |  | good | down | good (J1 is missing, starts with J2)
41 | '../../data/mne_raw/sub5-day1-mindfulness-raw.fif', | oscilaltions in low power | 79 | Fp1, Fpz, Fp2, F4, FC1, FC6, C4, T8, P8 | 2 |  | good | down
42 | '../../data/mne_raw/sub5-day2-jhana-raw.fif', | oscilaltions in low power | 79 | T7, P7 | 5 |  | good | down | J4>J3, J4>J3
43 | '../../data/mne_raw/sub5-day2-mindfulness-raw.fif', | oscillations in low power | 79 | Fpz, T7, O1 | 5 |  | good | down
44 | '../../data/mne_raw/sub5-day3-jhana-raw.fif', | oscilaltions in low power | 79 | T7, T8, P7, O1, O2 | 4 | y | good | down | good
45 | '../../data/mne_raw/sub5-day3-mindfulness-raw.fif', | oscilaltions in low power, FC5, O1, Fpz a bit noisier in high power | 79, 60 extra wide for FPz | F8, T7, T8, P7, O2 | 2 | y | good | down
46 | '../../data/mne_raw/sub5-day4-jhana-raw.fif', | oscilaltions in low power | 79 | T7, T8, O2 | 4 | y | good | down | good
47 | '../../data/mne_raw/sub5-day4-mindfulness-raw.fif', | oscilaltions in low power (only for some channels) | 79 | AF4, T7, CP2, P7, P8, O2 | 3 | y | good | down
48 | '../../data/mne_raw/sub6-day1-jhana-raw.fif', | oscilaltions in low power |  | F8, T7 | 4 |  | good | down | J1>N
49 | '../../data/mne_raw/sub6-day1-mindfulness-raw.fif', | oscilaltions in low power, about 1/3 is bad |  | F8, T7 | 4 |  | good | down
50 | '../../data/mne_raw/sub6-day2-jhana-raw.fif', | oscilaltions in low power, LOTS of high power noise (photo diod?), exclude? |  | FC6, T7, CP6 | 1 |  |  |  | J1>N
51 | '../../data/mne_raw/sub6-day2-mindfulness-raw.fif', | oscilaltions in low power |  | CC6, T8 | 4 |  | good | down
52 | '../../data/mne_raw/sub6-day3-jhana-raw.fif', | no low power oscillations! |  | F7, C4, T8, CP5, P7 | 6 |  | good | down | J1>N
53 | '../../data/mne_raw/sub6-day3-mindfulness-raw.fif', | oscilaltions in low power, very synchronised |  | T8, P7 | 3 |  | good | down
54 | '../../data/mne_raw/sub6-day4-jhana-raw.fif', | few/no oscillations in low power, lots of noise in high power |  | T7, T8, CP2, P7 | 4 |  | okay/good | down | J1>N
55 | '../../data/mne_raw/sub6-day4-mindfulness-raw.fif', | few/no oscillations, good otherwise |  | T8, P7 | 6 |  | good | down
56 | '../../data/mne_raw/sub7-day1-jhana-raw.fif', | oscilaltions in low power, alpha peak looks pretty bad, exclude? | 78.5 | F3, FC1, FC2, T8, POz, O1, Oz, O2 | 1 |  | good | down | J1>N
57 | '../../data/mne_raw/sub7-day1-mindfulness-raw.fif', | oscilaltions in low power, alpha peak looks pretty bad, exclude? | 78.8 | F3, C3, C4, T8, P8, POz, O1, Oz | 4 |  | good | down
58 | '../../data/mne_raw/sub7-day2-jhana-raw.fif', | few oscillations in low power, alpha only visible in some channels, 60Hz notch not quit enough for F3 | 82.5 | FC2, T7, T8, CP2, P7, Pz, P8, O1, O2 | 4 |  | good (though a bit noisy) | down | J1>N
59 | '../../data/mne_raw/sub7-day2-mindfulness-raw.fif', | BAD! Psd looks like it's almost exclusively noise.. | 79 | - | 0 |  | good | down
60 | '../../data/mne_raw/sub7-day3-jhana-raw.fif', | oscilaltions in low power, T8 is at the edge | 79 | F3, P7, P4, O1 | 4 |  | good | down | J1>N
61 | '../../data/mne_raw/sub7-day3-mindfulness-raw.fif', |  | 79 | FC1, FC6, T8, CP1, P7 | 4 |  | good | down
62 | '../../data/mne_raw/sub7-day4-jhana-raw.fif', | few oscillations in low power | 79 | - | 7 |  | good | down | J1>N
63 | '../../data/mne_raw/sub7-day4-mindfulness-raw.fif', | few oscillations in low power | 79 | - | 7 |  | good | down
64 | '../../data/mne_raw/sub8-day1-jhana-raw.fif', | oscilaltions in low power |  | Fp1, Fpz, Fp2, T8, O1, Oz, O2 | 4 |  | good | down | good (bad order, less experienced?)
65 | '../../data/mne_raw/sub8-day1-mindfulness-raw.fif', | oscilaltions in low power |  | Fp1, Fpz, Fp2, AF3, O1, Oz, O2 | 4 |  | good | down
66 | '../../data/mne_raw/sub8-day2-jhana-raw.fif', | Lots of channels with high frequency noise (about half), not yet excluded --> exclude? | 83 | - | 1 |  | good | down | -
67 | '../../data/mne_raw/sub8-day2-mindfulness-raw.fif', | very noisy in low power --> exclude? |  | F7, F8, FC6, O2 | 1 |  | good | down
68 | '../../data/mne_raw/sub8-day3-jhana-raw.fif', | oscillations in low power, Lots of high frequency noise + high low power |  | T7, P7, Oz, O2 | 1 |  | good | down | good (only one J1)
69 | '../../data/mne_raw/sub8-day3-mindfulness-raw.fif', | oscilaltions in low power + high low power |  | CP1, P7, Oz | 2 |  | good | down
70 | '../../data/mne_raw/sub8-day4-jhana-raw.fif', | high low power (a bit better with average reference) |  | - | 3 |  | good | down | good (bad order, less experienced?)
71 | '../../data/mne_raw/sub8-day4-mindfulness-raw.fif', | oscillations in low power, Lots of high frequency noise + high low power |  | FC5, T7, C3 | 2 |  | good | down
72 | '../../data/mne_raw/sub9-day1-jhana-raw.fif', | some unknown peak at 7Hz | 79 | AF4, FC5, T7, CP5, P4, Poz | 4 |  | good | down | J1>N
73 | '../../data/mne_raw/sub9-day1-mindfulness-raw.fif', | First 3rd is bad, otherwise decent (a bit noisy psd) | 79 | T7 | 4 |  | good | down
74 | '../../data/mne_raw/sub9-day2-jhana-raw.fif', | After removing about 1/3 the quality is good (but lots removed) | 79 | F7, F8, T7, T8, CP5, CP1, P8 | 5 |  | okay | down | J1>N
75 | '../../data/mne_raw/sub9-day2-mindfulness-raw.fif', | good | 79 | F3, FC6, T7, T8, CP5, CP6, P4 | 6 |  | good | down
76 | '../../data/mne_raw/sub9-day3-jhana-raw.fif', | good | 79 | FC2, Cz, T8, CP5, O1, O2 | 6 |  | good | down (every 30-100seconds there's an extra peak in the EKG data…) | J1>N ?? three J1s… (exclude?)
77 | '../../data/mne_raw/sub9-day3-mindfulness-raw.fif', | good | 79 | AF7, T7, T8, CP5, P8 | 6 |  | good | down (every 30-100seconds there's an extra peak in the EKG data…)
78 | '../../data/mne_raw/sub9-day4-jhana-raw.fif', | good | 79 | T7, CP5, Pz | 6 |  | good | down (every 30-100seconds there's an extra peak in the EKG data…) | J1>N
79 | '../../data/mne_raw/sub9-day4-mindfulness-raw.fif' | good | 79 | T7, CP5, CP2, Pz | 6 | y | good | down
4

## rest_baseline
idx | Name | Notes | Notch | Bad Channels | Quality | Blinks | Breath | ECG
0 | ../../data/mne_raw/sub0-LTP_post-rest_eyes_closed-raw.fif', | psd looks pretty noisey |  | P7, Pz, P4, P8, POz, O2 | 3 |  | good | down
1 | '../../data/mne_raw/sub0-LTP_post-rest_eyes_open-raw.fif', | psd looks pretty noisey |  | P7, O1, O2 | 3 | very small | good | down
2 | '../../data/mne_raw/sub0-LTP_pre-rest_eyes_closed-raw.fif', | okay |  | - | 4 |  | good | down
3 | '../../data/mne_raw/sub0-LTP_pre-rest_eyes_open-raw.fif', | good |  | - | 5 | yes | good | down
4 | '../../data/mne_raw/sub1-LTP_post-rest_eyes_closed-raw.fif', | psd has strong peak at 9.5Hz | 78.8 | - | 4 | - | good | down
5 | '../../data/mne_raw/sub1-LTP_post-rest_eyes_open-raw.fif', | - | 78.8 | Fz, P7, Pz | 2 | yes | good | down
6 | '../../data/mne_raw/sub1-LTP_pre-rest_eyes_closed-raw.fif', | lots of muscle movement | 78.8 | F7 | 1 | - | good | down
7 | '../../data/mne_raw/sub1-LTP_pre-rest_eyes_open-raw.fif', | lots of muscle movement | 78.8 |  | 3 | yes | good | down
8 | '../../data/mne_raw/sub2-LTP_post-rest_eyes_closed-raw.fif', |  |  |  | 3 | - | good | half/half
9 | '../../data/mne_raw/sub2-LTP_post-rest_eyes_open-raw.fif', |  |  |  | 3 | yes (many quick) | good | half/half
10 | '../../data/mne_raw/sub2-LTP_pre-rest_eyes_closed-raw.fif', |  |  | F7, F3, O1, O2 | 4 |  | good | half/half
11 | '../../data/mne_raw/sub2-LTP_pre-rest_eyes_open-raw.fif', |  |  | F7, F3, O1, O2 | 3 | yes (many quick) | good | half/half
12 | '../../data/mne_raw/sub3-LTP_post-rest_eyes_closed-raw.fif', |  | 78.8 | O1 | 4 |  | good | down
13 | '../../data/mne_raw/sub3-LTP_post-rest_eyes_open-raw.fif', |  | 78.8 | Fp2, O1 | 4 | many | good | down
14 | '../../data/mne_raw/sub3-LTP_pre-rest_eyes_closed-raw.fif', |  | 78.8 |  | 4 |  | good | down
15 | '../../data/mne_raw/sub3-LTP_pre-rest_eyes_open-raw.fif', | T7, T8 look borderline in psd | 78.8 |  | 4 | yes | good | down
16 | '../../data/mne_raw/sub4-LTP_post-rest_eyes_closed-raw.fif', |  |  | P7, O1, Oz, O2 | 4 |  | good | down
17 | '../../data/mne_raw/sub4-LTP_post-rest_eyes_open-raw.fif', |  |  | F8, CP2, P7, O1, Oz, O2 | 3 | yes | good | down
18 | '../../data/mne_raw/sub4-LTP_pre-rest_eyes_closed-raw.fif', |  |  | O1, Oz, O2 | 4 |  | maybe | down
19 | '../../data/mne_raw/sub4-LTP_pre-rest_eyes_open-raw.fif', |  |  |  | 4 | yes | good | down
20 | '../../data/mne_raw/sub5-LTP_post-rest_eyes_closed-raw.fif', | F8 has funky oscillations | 78.8 |  | 5 |  | good | down
21 | '../../data/mne_raw/sub5-LTP_post-rest_eyes_open-raw.fif', | F8 has funky oscillations | 78.8 |  | 4 | yes | good | down
22 | '../../data/mne_raw/sub5-LTP_pre-rest_eyes_closed-raw.fif', | F8 psd looks borderline | 78.8 | F3, CP2, Poz | 4
23 | '../../data/mne_raw/sub5-LTP_pre-rest_eyes_open-raw.fif', |  | 78.8 | CP2, Poz | 6 | some | good | down
24 | '../../data/mne_raw/sub6-LTP_post-rest_eyes_closed-raw.fif', |  |  |  | 4 |  | good | down
25 | '../../data/mne_raw/sub6-LTP_post-rest_eyes_open-raw.fif', |  |  |  | 4 | some, few | good | down
26 | '../../data/mne_raw/sub6-LTP_pre-rest_eyes_closed-raw.fif', | very bad, exclude (try ICA) | 78.8 |  | 1 |  | good | down
27 | '../../data/mne_raw/sub6-LTP_pre-rest_eyes_open-raw.fif', | very bad, exclude (try ICA) | 78.8 | F7, F8, FC1, T8, P7, O2 | 1 | LOTS (more artefact than blink) | good | down
28 | '../../data/mne_raw/sub7-LTP_post-rest_eyes_closed-raw.fif', |  | 78.8 | Fz, O1, O2 | 3 |  | good | down
29 | '../../data/mne_raw/sub7-LTP_post-rest_eyes_open-raw.fif', |  | 78.8 | Fz, O2 | 6 | yes | good | down
30 | '../../data/mne_raw/sub7-LTP_pre-rest_eyes_closed-raw.fif', |  |  |  | 6 |  | good | down
31 | '../../data/mne_raw/sub7-LTP_pre-rest_eyes_open-raw.fif', |  |  |  | 6 | yes | good | down
32 | '../../data/mne_raw/sub8-LTP_post-rest_eyes_closed-raw.fif', |  |  | FC5, C3, P7 | 6 | some | great | down
33 | '../../data/mne_raw/sub8-LTP_post-rest_eyes_open-raw.fif', |  |  | FC5, C3, CP5, P7 | 3 | few | great | down
34 | '../../data/mne_raw/sub8-LTP_pre-rest_eyes_closed-raw.fif', |  |  | T7 | 4 | yes | good | down
35 | '../../data/mne_raw/sub8-LTP_pre-rest_eyes_open-raw.fif', |  |  | T7 | 5 | - | good | down
36 | '../../data/mne_raw/sub9-LTP_post-rest_eyes_closed-raw.fif', |  | 78.8 | O1, Oz, O2 | 4 | some | good (noisy) | down
37 | '../../data/mne_raw/sub9-LTP_post-rest_eyes_open-raw.fif', | bad isch but okay | 78.8 | P8, POz, O1, Oz, O2 | 3 | yes | good (noisy) | down
38 | '../../data/mne_raw/sub9-LTP_pre-rest_eyes_closed-raw.fif', |  | 78.8 | Fz | 4 | yes | good | down
39 | '../../data/mne_raw/sub9-LTP_pre-rest_eyes_open-raw.fif' |  | 78.8 |  | 4 | yes | good | down

## mmn
idx | Name | Include based on evoked | Include based on MMN | Notes | osc, l_psd | Notch | Bad Channels | Quality | Blinks | Breath | ECG | Events
0 | ../../data/mne_raw_events/sub0-day1-jhana_mmn-raw_phot-events.fif', |  | ? |  |  |  |  | 6 |  | good | down | good
1 | '../../data/mne_raw_events/sub0-day1-mindfulness_mmn-raw_phot-events.fif', |  | ? |  |  |  |  | 6 | yes | good | down | good
2 | '../../data/mne_raw_events/sub0-day2-jhana_mmn-raw_phot-events.fif', | [6 empty] | 6 | yes | good | up | good
3 | '../../data/mne_raw_events/sub0-day2-mindfulness_mmn-raw_phot-events.fif', | [5 empty] | Fp1, AF4, FC1, FC2, FC6, T7, Poz | 6 | some | good | up | good
4 | '../../data/mne_raw_events/sub0-day3-jhana_mmn-raw_phot-events.fif', | [5 empty] | T7, CP6, Pz | 6 |  | good | down | good
5 | '../../data/mne_raw_events/sub0-day3-mindfulness_mmn-raw_phot-events.fif', | [5 empty] | FC6, C3, P8 | 6 |  | good | down | good
6 | '../../data/mne_raw_events/sub0-day4-jhana_mmn-raw_phot-events.fif', |  |  | Cz a bit funny, but okay |  |  | C3, CP1, P7, Oz, O2 | 6 |  | good | down | good
7 | '../../data/mne_raw_events/sub0-day4-mindfulness_mmn-raw_phot-events.fif', | Cz is bad | bad |  |  |  | C3, CP1, CP2, P7, O1, Oz, O2 | 4 |  | good | down | good
8 | '../../data/mne_raw_events/sub1-day1-jhana_mmn-raw_phot-events.fif', | bad | bad | noisy, but okay |  | 78.8Hz | F7, F8, T7, C4, T8, CP2, CP6, | 3 | yes | good | down | good
9 | '../../data/mne_raw_events/sub1-day1-mindfulness_mmn-raw_phot-events.fif', | bad | bad | noisy, but okay |  | 78.8Hz | F7, F8, CP5, CP1, CP2 | 3 | yes | good | down | good
10 | '../../data/mne_raw_events/sub1-day2-jhana_mmn-raw_phot-events.fif', |  | bad |  |  | 78.8Hz | F7, FC2, T7, CP5, Pz, O1 | 4 |  | good | down | good
11 | '../../data/mne_raw_events/sub1-day2-mindfulness_mmn-raw_phot-events.fif', |  | bad | these are noisy: T8, CP5, CP1, CP2, CP6, P7, Pz |  | 78.8Hz | F7, T7, T8, P8, O2 | 4 |  | good | down (starting at 680 there are bit of fluctuations) | good
12 | '../../data/mne_raw_events/sub1-day3-jhana_mmn-raw_phot-events.fif', |  |  |  |  | 78.8Hz | F7, F8, FC5, T7, T8, CP5 | 4 | some | good | down | good
13 | '../../data/mne_raw_events/sub1-day3-mindfulness_mmn-raw_phot-events.fif', |  |  |  |  | 78.8Hz | F7, F8, CP5 | 3 |  | okay | down | good
14 | '../../data/mne_raw_events/sub1-day4-jhana_mmn-raw_phot-events.fif', |  | bad | lots of muscle |  | 78.8Hz | FC5, CP5, O1, Oz, O2 | 3 |  | good | down | good
15 | '../../data/mne_raw_events/sub1-day4-mindfulness_mmn-raw_phot-events.fif', |  | bad |  |  | 78.8Hz | F7, FC5, T7, CP5, Oz | 5 |  | good | down | good
16 | '../../data/mne_raw_events/sub2-day1-jhana_mmn-raw_phot-events.fif', |  |  | weird oscillations on low powers, F3 is borderline |  |  | F8, FC2, T7, T8, O1, Oz, O2 | 3 |  | good | unclear (both up and down) | good
17 | '../../data/mne_raw_events/sub2-day1-mindfulness_mmn-raw_phot-events.fif', |  |  | oscillations in low power |  |  | O1 | 3 |  | good | unclear (both up and down) | good
18 | '../../data/mne_raw_events/sub2-day2-jhana_mmn-raw_phot-events.fif', |  |  | looks okay |  |  |  | 5 |  | good | unclear (both up and down) | good
19 | '../../data/mne_raw_events/sub2-day2-mindfulness_mmn-raw_phot-events.fif', | [5 empty] | Fp1, Fp2, T7 | 4 |  | good | unclear (both up and down) | good
20 | '../../data/mne_raw_events/sub2-day3-jhana_mmn-raw_phot-events.fif', |  |  | needed to mark last third as bad (frontal eelctrodes) |  |  | T7, T8, CP5, P7, P8, O1, Oz, O2 | 3 |  | good | unclear (both up and down) | good
21 | '../../data/mne_raw_events/sub2-day3-mindfulness_mmn-raw_phot-events.fif', |  |  | PSD has oscillations in alpha power, otherwise good |  |  | O1, Oz, O2 | 6 |  | good | unclear (good) | good
22 | '../../data/mne_raw_events/sub2-day4-jhana_mmn-raw_phot-events.fif', |  |  | second half is bad, cap seems to be disconnected, very strong oscillations in low psd |  |  | FC1, AF4, POz, O1, Oz, O2 | 2 |  | good | unclear (both up and down) | good
23 | '../../data/mne_raw_events/sub2-day4-mindfulness_mmn-raw_phot-events.fif', | bad |  | funky peaks in low psd |  |  | FC5, T7, C3, CP1, P7, O1, Oz, O2 | 4 |  | good | unclear (good)
24 | '../../data/mne_raw_events/sub3-day1-jhana_mmn-raw_phot-events.fif', |  | BAD | low psd oscillations |  | 78.8Hz | O1, Oz, O2 | 4 | yes | good | good | good
25 | '../../data/mne_raw_events/sub3-day1-mindfulness_mmn-raw_phot-events.fif', | bad | BAD | very noisey, 2/3 are bad |  | 78.8Hz | F7, F8, T8, P3, Pz, P4, P8, POz, O1, Oz, O2 | 2 | some | good | good | good
26 | '../../data/mne_raw_events/sub3-day2-jhana_mmn-raw_phot-events.fif', |  | BAD | good (no funky oscillations in low alpha!) | n | 78.8Hz | F7, F4, F8, T8 | 5 | yes | good | good | good
27 | '../../data/mne_raw_events/sub3-day2-mindfulness_mmn-raw_phot-events.fif', |  | BAD | good (no funky oscillations in low alpha!) | n | 78.8Hz | F7, F4, F8 | 5 | yes | good | good | good
28 | '../../data/mne_raw_events/sub3-day3-jhana_mmn-raw_phot-events.fif', | FC2 is bad | bad | Lots of shared noise, would only work if average ref | n | 78.8Hz | F7, T7, Pz, P4, P8 | 2 | yes | good | good | good
29 | '../../data/mne_raw_events/sub3-day3-mindfulness_mmn-raw_phot-events.fif', |  | bad | Lots of shared noise, would only work if average ref | n | 78.8Hz | F7, Pz, P4, P8 | 2 |  | good | good | good
30 | '../../data/mne_raw_events/sub3-day4-jhana_mmn-raw_phot-events.fif', | bad | bad | bad, exclude |  | 78.8Hz | F3, Fz, CP1, P7, P8, POz, O1, Oz, O2 | 1 |  | none | none | good
31 | '../../data/mne_raw_events/sub3-day4-mindfulness_mmn-raw_phot-events.fif', | bad | bad | bad, exclude |  | 78.8Hz | C4, T8, Pz, P4, P8, POz, O1, Oz, O2 | 2 |  | shallow | bad at beginning, then all good | good
32 | '../../data/mne_raw_events/sub4-day1-jhana_mmn-raw_phot-events.fif', |  |  |  | y |  | F4, C4, T8, POz, O1, Oz, O2 | 5 |  | good | good | good
33 | '../../data/mne_raw_events/sub4-day1-mindfulness_mmn-raw_phot-events.fif', |  |  |  | y |  | F8, T8, P7, O1, Oz, O2 | 5 |  | good | good | good
34 | '../../data/mne_raw_events/sub4-day2-jhana_mmn-raw_phot-events.fif', |  |  |  | y |  | C3, Pz, O1, Oz, O2 | 4 |  | good | good | good
35 | '../../data/mne_raw_events/sub4-day2-mindfulness_mmn-raw_phot-events.fif', |  |  |  | y-strong |  | C3, P8, O1, Oz, O2 | 4 |  | good | good | good
36 | '../../data/mne_raw_events/sub4-day3-jhana_mmn-raw_phot-events.fif', |  | bad |  | some |  | Fp1, C6, T8, P8, POz, O1, Oz, O2 | 4 |  | good | good | good
37 | '../../data/mne_raw_events/sub4-day3-mindfulness_mmn-raw_phot-events.fif', |  |  |  | some |  | F8, T7, O1, Oz, O2 | 4 |  | good | good | good
38 | '../../data/mne_raw_events/sub4-day4-jhana_mmn-raw_phot-events.fif', | bad |  | BAD, EXCLUDE | LOTS |  | P7, O1, Oz, O2 | 0 |  | good | good | good
39 | '../../data/mne_raw_events/sub4-day4-mindfulness_mmn-raw_phot-events.fif', | bad | bad | BAD, EXCLUDE | many |  | MANY (80%) | 0 |  | good | good | good
40 | '../../data/mne_raw_events/sub5-day1-jhana_mmn-raw_phot-events.fif', |  | BAD | pretty bad, but okay to keep | some | 78.8Hz | F4, FC5, FC6, T7, C4, T8, O1, Oz, O2 | 2 |  | good | good | good
41 | '../../data/mne_raw_events/sub5-day1-mindfulness_mmn-raw_phot-events.fif', |  | BAD |  | some | 78.8Hz | Fp1, Fpz, Fp2, FC6, C4, O1 | 4 |  | good | good | good
42 | '../../data/mne_raw_events/sub5-day2-jhana_mmn-raw_phot-events.fif', |  | BAD |  | few | 78.8Hz | F8, T7, P7 | 4 | yes | good | good | good
43 | '../../data/mne_raw_events/sub5-day2-mindfulness_mmn-raw_phot-events.fif', |  | BAD |  | few | 78.8Hz | Fpz, O1 | 4 | yes | good | good | good
44 | '../../data/mne_raw_events/sub5-day3-jhana_mmn-raw_phot-events.fif', |  | BAD |  | yes | 78.8Hz | F8, FC5, T7, T8, P7, O1, O2 | 4 |  | good | good | good
45 | '../../data/mne_raw_events/sub5-day3-mindfulness_mmn-raw_phot-events.fif', |  | BAD |  | yes | 78.8Hz | Fpz, F7, T7, T8, P7 | 4 | yes | good | good | good
46 | '../../data/mne_raw_events/sub5-day4-jhana_mmn-raw_phot-events.fif', |  | BAD |  | yes | 78.8Hz | F7, T7, T8, O1, O2 | 4 | yes | good | good | good
47 | '../../data/mne_raw_events/sub5-day4-mindfulness_mmn-raw_phot-events.fif', |  | BAD |  | yes | 78.8Hz | T7, O2 | 5 | yes | good | good | good
48 | '../../data/mne_raw_events/sub6-day1-jhana_mmn-raw_phot-events.fif', | BAD | BAD |  | few |  | FC5, T7, T8, CP5, CP6 | 4 |  | good | good | good
49 | '../../data/mne_raw_events/sub6-day1-mindfulness_mmn-raw_phot-events.fif', | BAD | BAD | BAD, EXCLUDE |  |  | MANY (80%) | 1 |  | good | good | good
50 | '../../data/mne_raw_events/sub6-day2-jhana_mmn-raw_phot-events.fif', | BAD | BAD |  | some |  | FC5, T7, CP6, O1, O2 | 3 |  | good | good | good
51 | '../../data/mne_raw_events/sub6-day2-mindfulness_mmn-raw_phot-events.fif', | BAD | BAD |  | none |  | FC6, O2 | 6 |  | good | good | good
52 | '../../data/mne_raw_events/sub6-day3-jhana_mmn-raw_phot-events.fif', | BAD | okay |  | none |  | F8, C4, CP2 | 6 |  | good | good | good
53 | '../../data/mne_raw_events/sub6-day3-mindfulness_mmn-raw_phot-events.fif', | BAD | okay |  | some |  | Fp2, CP2, P7 | 5 |  | good | good | good
54 | '../../data/mne_raw_events/sub6-day4-jhana_mmn-raw_phot-events.fif', | BAD | BAD | LOTS of shared noise | few |  | F8, T7, P7 | 4 |  | good | good | good
55 | '../../data/mne_raw_events/sub6-day4-mindfulness_mmn-raw_phot-events.fif', | BAD | BAD | LOTS of shared noise |  |  | CP2, P7 | 5 |  | good | good | good
56 | '../../data/mne_raw_events/sub7-day1-jhana_mmn-raw_phot-events.fif', |  | bad |  | yes | 78.8Hz | F7, F3, F8, FC1, T8, POz, O1, Oz, O2 | 2 |  | good | good | good
57 | '../../data/mne_raw_events/sub7-day1-mindfulness_mmn-raw_phot-events.fif', |  |  |  | few | 78.8Hz | F3, F4, C4, T8, Pz, POz, O1, Oz, O2 | 4 |  | good | good | good
58 | '../../data/mne_raw_events/sub7-day2-jhana_mmn-raw_phot-events.fif', |  |  |  | yes | 78.8Hz, 82.8Hz | T7, T8, CP2, P7, Pz, POz, O1, Oz, O2 | 3 |  | good | good | good
59 | '../../data/mne_raw_events/sub7-day2-mindfulness_mmn-raw_phot-events.fif', |  |  | VERY VERY BAD, Exclude |  | 78.8Hz |  | 0
60 | '../../data/mne_raw_events/sub7-day3-jhana_mmn-raw_phot-events.fif', |  |  |  | yes | 78.8Hz | F3, FC1, T7, P7, P4, P8, POz, O1 | 4 |  | good | good | good
61 | '../../data/mne_raw_events/sub7-day3-mindfulness_mmn-raw_phot-events.fif', |  |  |  | some | 78.8Hz | Fp2, FC5, FC1, FC6, CP1, P7, Pz, P4, POz, O1 | 4 |  | good | good | good
62 | '../../data/mne_raw_events/sub7-day4-jhana_mmn-raw_phot-events.fif', |  |  |  | some | 78.8Hz | T8 | 7 |  | good | good | good
63 | '../../data/mne_raw_events/sub7-day4-mindfulness_mmn-raw_phot-events.fif', |  |  |  | few | 78.8Hz | O1, O2 | 7 |  | good | good | good
64 | '../../data/mne_raw_events/sub8-day1-jhana_mmn-raw_phot-events.fif', |  | bad | pretty bad, maybe exclude? | yes |  | Fp1, Fpz, Fp2, AF3, T7, C3, C4, CP5, O1, Oz, O2 | 3 |  | good | good | good
65 | '../../data/mne_raw_events/sub8-day1-mindfulness_mmn-raw_phot-events.fif', |  |  |  | yes |  | Fp2, AF3, AF4, T7, C3, T8, P8, O1, Oz, O2 | 4 |  | good | good | good
66 | '../../data/mne_raw_events/sub8-day2-jhana_mmn-raw_phot-events.fif', |  |  |  | yes |  | AF4, F7, FC5, T7, C3, CP5, CP1, P3, O2 | 4 |  | good | good | good
67 | '../../data/mne_raw_events/sub8-day2-mindfulness_mmn-raw_phot-events.fif', |  |  | lots of movement in the frontal electrodes | some |  | AF4, FC5, T7, C3, T8, CP5, CP1, P3, O1, Oz, O2 | 3 |  | good | good | good
68 | '../../data/mne_raw_events/sub8-day3-jhana_mmn-raw_phot-events.fif', | bad |  |  | some |  | F7, FC5, T7, C3, CP5, P7, O1, Oz, O2 | 5 |  | good | good | good
69 | '../../data/mne_raw_events/sub8-day3-mindfulness_mmn-raw_phot-events.fif', | bad |  |  | yes |  | AF4, FC5, T7, C3, CP5, P7, P3, Oz, O2 | 5 |  | good | okay | good
70 | '../../data/mne_raw_events/sub8-day4-jhana_mmn-raw_phot-events.fif', | bad | bad |  | yes |  | F8, FC5, T7, C3, CP5 | 5 |  | good | good | good
71 | '../../data/mne_raw_events/sub8-day4-mindfulness_mmn-raw_phot-events.fif', | bad | bad |  | yes |  | FPz, FP2, F8, FC5, T7, C3, CP5, CP2, P3 | 5 |  | good | good | good
72 | '../../data/mne_raw_events/sub9-day1-jhana_mmn-raw_phot-events.fif', |  | bad |  | yes | 78.8Hz | FC5, CP5, P4, P8 | 4 |  | good | good | good
73 | '../../data/mne_raw_events/sub9-day1-mindfulness_mmn-raw_phot-events.fif', |  | bad |  | some | 78.8Hz | T7, CP5, | 4 |  | good | good | good
74 | '../../data/mne_raw_events/sub9-day2-jhana_mmn-raw_phot-events.fif', |  |  |  | yes | 78.8Hz, 79.8Hz | F4, FC5, T7, CP5, P8, O1 | 4 |  | good | good | good
75 | '../../data/mne_raw_events/sub9-day2-mindfulness_mmn-raw_phot-events.fif', |  |  |  | some | 78.8Hz, 79.8Hz | FC1, FC6, T7, T8, CP5, CP6, P4 | 4 |  | good | okay | good
76 | '../../data/mne_raw_events/sub9-day3-jhana_mmn-raw_phot-events.fif', |  |  |  | some | 78.8Hz | AF4, FC1, FC2, T7, CP5, POz, O1, O2 | 5 |  | good | good | good
77 | '../../data/mne_raw_events/sub9-day3-mindfulness_mmn-raw_phot-events.fif', |  |  |  | few | 78.8Hz | T7, CP5, CP1, P8, Poz | 5 |  | good | good | good
78 | '../../data/mne_raw_events/sub9-day4-jhana_mmn-raw_phot-events.fif', |  |  |  | few | 78.8Hz | T7, CP5, Pz | 5 |  | good | good | good
79 | '../../data/mne_raw_events/sub9-day4-mindfulness_mmn-raw_phot-events.fif' |  |  |  | few | 78.8Hz | FC6, T7, CP5, CP2, Pz | 5 |  | good | good | good

## ltp
idx | Name | Notes | osc, l_psd | Notch | Bad Channels | Quality | Blinks | Breath | ECG | Events
0 | ../../data/mne_raw_events/sub0-LTP_post-baseline_ltp-raw_phot-events.fif', |  |  |  | O2 | 6 |  | good | good | good
1 | '../../data/mne_raw_events/sub0-LTP_post-early_ltp-raw_phot-events.fif', |  |  |  | P7, O2 | 5 |  | good | good | good
2 | '../../data/mne_raw_events/sub0-LTP_post-late_ltp-raw_phot-events.fif', |  |  |  | P7, O2 | 5 |  | good | good | good
3 | '../../data/mne_raw_events/sub0-LTP_pre-baseline_ltp-raw_phot-events.fif', |  |  |  | F8 | 6 | yes | good | good | good
4 | '../../data/mne_raw_events/sub0-LTP_pre-early_ltp-raw_phot-events.fif', |  |  |  | - | 6 | yes | good | good | good
5 | '../../data/mne_raw_events/sub0-LTP_pre-late_ltp-raw_phot-events.fif', |  |  |  | T8 | 6 | yes | good | good | good
6 | '../../data/mne_raw_events/sub1-LTP_post-baseline_ltp-raw_phot-events.fif', |  |  | 78.8Hz | T7, CP5 | 6 | yes | good | good | good
7 | '../../data/mne_raw_events/sub1-LTP_post-early_ltp-raw_phot-events.fif', |  |  | 78.8Hz | T7, CP5 | 5 | yes | good | good | good
8 | '../../data/mne_raw_events/sub1-LTP_post-late_ltp-raw_phot-events.fif', |  |  | 78.8Hz | T7, CP5 | 5 | yes | good | good | good
9 | '../../data/mne_raw_events/sub1-LTP_pre-baseline_ltp-raw_phot-events.fif', | frequenc muscle artefacts across most channels |  | 78.8Hz | F7 | 4 | yes | good | good | good
10 | '../../data/mne_raw_events/sub1-LTP_pre-early_ltp-raw_phot-events.fif', |  |  | 78.8Hz | Fp1, Fpz, Fp2, F3, F4, CP2 | 4 | yes | good | good | good
11 | '../../data/mne_raw_events/sub1-LTP_pre-late_ltp-raw_phot-events.fif', |  | strong | 78.8Hz | Fp1, Fpz, Fp2, F7, F4, T7, CP2 | 4 | yes | good | good | good
12 | '../../data/mne_raw_events/sub2-LTP_post-baseline_ltp-raw_phot-events.fif', | no alpha peak |  |  | - | 6 | yes | good | unclear (both up and down) | good
13 | '../../data/mne_raw_events/sub2-LTP_post-early_ltp-raw_phot-events.fif', | no alpha peak | yes |  | - | 5 | yes | good | unclear (both up and down) | good
14 | '../../data/mne_raw_events/sub2-LTP_post-late_ltp-raw_phot-events.fif', | no alpha peak | yes |  | Fp1, Fp2, F4, | 5 | yes | good | unclear (both up and down) | good
15 | '../../data/mne_raw_events/sub2-LTP_pre-baseline_ltp-raw_phot-events.fif', | no alpha peak | yes |  | O1, Oz, O2 | 5 | yes | good | unclear (both up and down) | good
16 | '../../data/mne_raw_events/sub2-LTP_pre-early_ltp-raw_phot-events.fif', | no alpha peak | yes |  | AF3, AF4, F7, F3, F4, F8, O1, Oz, O2 | 4 | yes | good | unclear (both up and down) | good
17 | '../../data/mne_raw_events/sub2-LTP_pre-late_ltp-raw_phot-events.fif', | no alpha peak | yes |  | O1, Oz, O2 | 5 | yes | good | unclear (both up and down) | good
18 | '../../data/mne_raw_events/sub3-LTP_post-baseline_ltp-raw_phot-events.fif', | alpha peak is back | few | 78.8Hz | Fp2 | 6 | yes | good | good | good
19 | '../../data/mne_raw_events/sub3-LTP_post-early_ltp-raw_phot-events.fif', |  |  | 78.8Hz | - | 7 | yes | good | good | good
20 | '../../data/mne_raw_events/sub3-LTP_post-late_ltp-raw_phot-events.fif', |  |  | 78.8Hz | - | 7 | yes | good | good | good
21 | '../../data/mne_raw_events/sub3-LTP_pre-baseline_ltp-raw_phot-events.fif', |  |  | 78.8Hz |  |  | yes | good | good | good
22 | '../../data/mne_raw_events/sub3-LTP_pre-early_ltp-raw_phot-events.fif', |  |  | 78.8Hz |  |  | yes | good | good | good
23 | '../../data/mne_raw_events/sub3-LTP_pre-late_ltp-raw_phot-events.fif', |  |  | 78.8Hz |  |  | yes | good | good | good
24 | '../../data/mne_raw_events/sub4-LTP_post-baseline_ltp-raw_phot-events.fif', | [5 empty] | yes | good | good | good
25 | '../../data/mne_raw_events/sub4-LTP_post-early_ltp-raw_phot-events.fif', | [5 empty] | yes | good | good | good
26 | '../../data/mne_raw_events/sub4-LTP_post-late_ltp-raw_phot-events.fif', | [5 empty] | yes | good | good | good
27 | '../../data/mne_raw_events/sub4-LTP_pre-baseline_ltp-raw_phot-events.fif', | [5 empty] | yes | good | good | good
28 | '../../data/mne_raw_events/sub4-LTP_pre-early_ltp-raw_phot-events.fif', | [5 empty] | yes | good | good | good
29 | '../../data/mne_raw_events/sub4-LTP_pre-late_ltp-raw_phot-events.fif', | [5 empty] | yes | good | good | good
30 | '../../data/mne_raw_events/sub5-LTP_post-baseline_ltp-raw_phot-events.fif', |  |  | 78.8Hz |  |  | yes | good | good | good
31 | '../../data/mne_raw_events/sub5-LTP_post-early_ltp-raw_phot-events.fif', |  |  | 78.8Hz |  |  | yes | good | good | good
32 | '../../data/mne_raw_events/sub5-LTP_post-late_ltp-raw_phot-events.fif', |  |  | 78.8Hz |  |  | yes | good | good | good
33 | '../../data/mne_raw_events/sub5-LTP_pre-baseline_ltp-raw_phot-events.fif', |  |  | 78.8Hz |  |  | yes | good | good | good
34 | '../../data/mne_raw_events/sub5-LTP_pre-early_ltp-raw_phot-events.fif', |  |  | 78.8Hz |  |  | yes | good | good | good
35 | '../../data/mne_raw_events/sub5-LTP_pre-late_ltp-raw_phot-events.fif', |  |  | 78.8Hz |  |  | yes | good | good | good
36 | '../../data/mne_raw_events/sub6-LTP_post-baseline_ltp-raw_phot-events.fif', | [5 empty] | yes | good | good | good
37 | '../../data/mne_raw_events/sub6-LTP_post-early_ltp-raw_phot-events.fif', | [5 empty] | yes | good | good | good
38 | '../../data/mne_raw_events/sub6-LTP_post-late_ltp-raw_phot-events.fif', | [5 empty] | yes | good | good | good
39 | '../../data/mne_raw_events/sub6-LTP_pre-baseline_ltp-raw_phot-events.fif', | [5 empty] | yes | good | good | good
40 | '../../data/mne_raw_events/sub6-LTP_pre-early_ltp-raw_phot-events.fif', | [5 empty] | yes | good | good | good
41 | '../../data/mne_raw_events/sub6-LTP_pre-late_ltp-raw_phot-events.fif', | [5 empty] | yes | good | good | good
42 | '../../data/mne_raw_events/sub7-LTP_post-baseline_ltp-raw_phot-events.fif', |  |  | 78.8Hz |  |  | yes | good | good | good
43 | '../../data/mne_raw_events/sub7-LTP_post-early_ltp-raw_phot-events.fif', |  |  | 78.8Hz |  |  | yes | good | good | good
44 | '../../data/mne_raw_events/sub7-LTP_post-late_ltp-raw_phot-events.fif', |  |  | 78.8Hz |  |  | yes | good | good | good
45 | '../../data/mne_raw_events/sub7-LTP_pre-baseline_ltp-raw_phot-events.fif', |  |  | 78.8Hz |  |  | yes | good | good | good
46 | '../../data/mne_raw_events/sub7-LTP_pre-early_ltp-raw_phot-events.fif', |  |  | 78.8Hz |  |  | yes | good | good | good
47 | '../../data/mne_raw_events/sub7-LTP_pre-late_ltp-raw_phot-events.fif', |  |  | 78.8Hz |  |  | yes | good | good | good
48 | '../../data/mne_raw_events/sub8-LTP_post-baseline_ltp-raw_phot-events.fif', | [5 empty] | yes | good | good | good
49 | '../../data/mne_raw_events/sub8-LTP_post-early_ltp-raw_phot-events.fif', | [5 empty] | yes | good | good | good
50 | '../../data/mne_raw_events/sub8-LTP_post-late_ltp-raw_phot-events.fif', | [5 empty] | yes | good | good | good
51 | '../../data/mne_raw_events/sub8-LTP_pre-baseline_ltp-raw_phot-events.fif', | [5 empty] | yes | good | good | good
52 | '../../data/mne_raw_events/sub8-LTP_pre-early_ltp-raw_phot-events.fif', | [5 empty] | yes | good | good | good
53 | '../../data/mne_raw_events/sub8-LTP_pre-late_ltp-raw_phot-events.fif', | [5 empty] | yes | good | good | good
54 | '../../data/mne_raw_events/sub9-LTP_post-baseline_ltp-raw_phot-events.fif', |  |  | 78.8Hz |  |  | yes | good | good | good
55 | '../../data/mne_raw_events/sub9-LTP_post-early_ltp-raw_phot-events.fif', |  |  | 78.8Hz |  |  | yes | good | good | good
56 | '../../data/mne_raw_events/sub9-LTP_post-late_ltp-raw_phot-events.fif', |  |  | 78.8Hz |  |  | yes | good | good | good
57 | '../../data/mne_raw_events/sub9-LTP_pre-baseline_ltp-raw_phot-events.fif', |  |  | 78.8Hz |  |  | yes | good | good | good
58 | '../../data/mne_raw_events/sub9-LTP_pre-early_ltp-raw_phot-events.fif', |  |  | 78.8Hz |  |  | yes | good | good | good
59 | '../../data/mne_raw_events/sub9-LTP_pre-late_ltp-raw_phot-events.fif' |  |  | 78.8Hz |  |  | yes | good | good | good

## rmmn
idx | Name | Notes | Notch | Bad Channels | Quality | Blinks | Breath | ECG | Events
0 | ../../data/mne_raw_events/sub0-LTP_post-rmmn-raw_phot-events.fif',
1 | '../../data/mne_raw_events/sub0-LTP_pre-rmmn-raw_phot-events.fif',
2 | '../../data/mne_raw_events/sub1-LTP_post-rmmn-raw_phot-events.fif',
3 | '../../data/mne_raw_events/sub1-LTP_pre-rmmn-raw_phot-events.fif',
4 | '../../data/mne_raw_events/sub2-LTP_post-rmmn-raw_phot-events.fif',
5 | '../../data/mne_raw_events/sub2-LTP_pre-rmmn-raw_phot-events.fif',
6 | '../../data/mne_raw_events/sub3-LTP_post-rmmn-raw_phot-events.fif',
7 | '../../data/mne_raw_events/sub3-LTP_pre-rmmn-raw_phot-events.fif',
8 | '../../data/mne_raw_events/sub4-LTP_post-rmmn-raw_phot-events.fif',
9 | '../../data/mne_raw_events/sub4-LTP_pre-rmmn-raw_phot-events.fif',
10 | '../../data/mne_raw_events/sub5-LTP_post-rmmn-raw_phot-events.fif',
11 | '../../data/mne_raw_events/sub5-LTP_pre-rmmn-raw_phot-events.fif',
12 | '../../data/mne_raw_events/sub6-LTP_post-rmmn-raw_phot-events.fif',
13 | '../../data/mne_raw_events/sub6-LTP_pre-rmmn-raw_phot-events.fif',
14 | '../../data/mne_raw_events/sub7-LTP_post-rmmn-raw_phot-events.fif',
15 | '../../data/mne_raw_events/sub7-LTP_pre-rmmn-raw_phot-events.fif',
16 | '../../data/mne_raw_events/sub8-LTP_post-rmmn-raw_phot-events.fif',
17 | '../../data/mne_raw_events/sub8-LTP_pre-rmmn-raw_phot-events.fif',
18 | '../../data/mne_raw_events/sub9-LTP_post-rmmn-raw_phot-events.fif',
19 | '../../data/mne_raw_events/sub9-LTP_pre-rmmn-raw_phot-events.fif'

## control_resting_state
idx | Name | Notes | Notch | Bad Channels | Quality | Blinks | Breath | ECG
0 | ../../data/mne_raw/sub0-control-mindfulness-raw.fif', | T8 and P8 looks at the edge in the PSD | - | F4, F8, FC6, T7, O1, Oz, O2 | 4 | yes | good | good
1 | '../../data/mne_raw/sub1-control-mindfulness-raw.fif', | CP6, P4, P7 markes as bad because low alpha oscillations, F7, F3 have high frequency noise | - | FC5, T7, CP6, P7, P4, O1, Oz, O2 | 5 | some | good | good
2 | '../../data/mne_raw/sub10-control-mindfulness-raw.fif', | frontal electrodes very nlisy, but not excluded | - | O1, Oz, O2 | 4 |  | good | good
3 | '../../data/mne_raw/sub11-control-mindfulness-raw.fif', | psd has peak around 30Hz (strange) |  | Fp2, T8, P8 | 3 | no | good | good
4 | '../../data/mne_raw/sub12-control-mindfulness-raw.fif', | - |  | AF4, FC2, T7, T8, P7, POz, O1, Oz, O2 | 5 | no | good | good
5 | '../../data/mne_raw/sub2-control-mindfulness-raw.fif', | high psd is very noisy, low psd has waves… NOT GOOD | - | F4, FC5, CP2, O1, Oz, O2 | 3 | not sure | very subtle | both sides
6 | '../../data/mne_raw/sub3-control-mindfulness-raw.fif', | high psd is very noisy, low psd has waves… NOT GOOD |  | F4, T7, T8, O1, Oz, O2 | 3 | no | good | good
7 | '../../data/mne_raw/sub4-control-mindfulness-raw.fif', | - | - | FC2, C3, T8, | 5 | few | good | good
8 | '../../data/mne_raw/sub5-control-mindfulness-raw.fif', | bad, exclude? |  | T7, O1 | 1 | yes | good | good
9 | '../../data/mne_raw/sub6-control-mindfulness-raw.fif', | low psd LOTS OF NOISE |  | T8, P7, O1, Oz | 3 |  | good | good
10 | '../../data/mne_raw/sub7-control-mindfulness-raw.fif', | low psd LOTS OF NOISE |  | T8, P8 | 3 |  | good | good
11 | '../../data/mne_raw/sub8-control-mindfulness-raw.fif', | low psd LOTS OF NOISE + high PSD peaks |  | CP5, O1, O2 | 3 |  | subtle | good
12 | '../../data/mne_raw/sub9-control-mindfulness-raw.fif' | low psd LOTS OF NOISE + AF3 high psd noise |  | Fp1, AF4, Pz, P8, POz, O1, Oz, O2 | 3 |  | good | okay (a ted unclear)

## control_counting
idx | Name | Notes | Notch | Bad Channels | Quality | Blinks | Breath | ECG | Events
0 | ../../data/mne_raw/sub0-control-counting-raw.fif',
1 | '../../data/mne_raw/sub1-control-counting-raw.fif',
2 | '../../data/mne_raw/sub10-control-counting-raw.fif',
3 | '../../data/mne_raw/sub11-control-counting-raw.fif',
4 | '../../data/mne_raw/sub12-control-counting-raw.fif',
5 | '../../data/mne_raw/sub2-control-counting-raw.fif',
6 | '../../data/mne_raw/sub3-control-counting-raw.fif',
7 | '../../data/mne_raw/sub4-control-counting-raw.fif',
8 | '../../data/mne_raw/sub5-control-counting-raw.fif',
9 | '../../data/mne_raw/sub6-control-counting-raw.fif',
10 | '../../data/mne_raw/sub7-control-counting-raw.fif',
11 | '../../data/mne_raw/sub8-control-counting-raw.fif',
12 | '../../data/mne_raw/sub9-control-counting-raw.fif'

## control_mmn
idx | Name | Notes | Notch | Bad Channels | Quality | Blinks | Breath | ECG | Events
0 | ../../data/mne_raw_events/sub0-control-mindfulness_mmn-raw_phot-events.fif',
1 | '../../data/mne_raw_events/sub1-control-mindfulness_mmn-raw_phot-events.fif',
2 | '../../data/mne_raw_events/sub10-control-mindfulness_mmn-raw_phot-events.fif',
3 | '../../data/mne_raw_events/sub11-control-mindfulness_mmn-raw_phot-events.fif',
4 | '../../data/mne_raw_events/sub12-control-mindfulness_mmn-raw_phot-events.fif',
5 | '../../data/mne_raw_events/sub2-control-mindfulness_mmn-raw_phot-events.fif',
6 | '../../data/mne_raw_events/sub3-control-mindfulness_mmn-raw_phot-events.fif',
7 | '../../data/mne_raw_events/sub4-control-mindfulness_mmn-raw_phot-events.fif',
8 | '../../data/mne_raw_events/sub5-control-mindfulness_mmn-raw_phot-events.fif',
9 | '../../data/mne_raw_events/sub6-control-mindfulness_mmn-raw_phot-events.fif',
10 | '../../data/mne_raw_events/sub7-control-mindfulness_mmn-raw_phot-events.fif',
11 | '../../data/mne_raw_events/sub8-control-mindfulness_mmn-raw_phot-events.fif',
12 | '../../data/mne_raw_events/sub9-control-mindfulness_mmn-raw_phot-events.fif'